## consecutive pairwise
CONSECUTIVE PAIRWISE ANALYSIS OF TRIALS FOR RELIABILITY
Hover cursor for citation: |  |  | If your data consist of simultaneous measurement with two devices on two occasions, read the Apr 2024 update and download the relevant workbook.
Hover cursor for updates: |  | 2019 | 2018 | 2015 | 2012 | 2010 | 2009
This spreadsheet calculates reliability statistics for consecutive pairs of trials and for the means of these statistics when there are >2 trials.
For trials spaced at equal intervals, these means are better estimates of test-retest reliability than the more usual ANOVA-based reliablity statistics.
But see the 1-way and 2-way spreadsheets in this workbook for such analyses.
The reliability statistics are calculated for raw data and after log transformation.
See the instructions in dark red to help you decide between which is better for your data.
The data shown here are what you would expect for countermovement-jump height (best of three jumps) of team-sport athletes in trials separated by only a day or two.
I generated the data by putting appropriate means and SD into the 2-way spreadsheet.
Delete and replace the numbers in blue. Stats you might want are in red. Don't change any cells with a colored background.
Missing values must be blanks or the graphs will display incorrectly. (The X values will plot as consecutive integers.)
Clear all the "delete" and #NUM! corresponding to missing values. Restore the formula (by copying an adjacent cell) if you restore a missing value or for new data.
Check the graphs (especially of the change scores) for outliers and non-uniformity of scatter. The log-transformed variables may show less non-uniformity.
For more than 20 subjects, COPY any number of rows after the first data row and INSERT in the same place without deselecting.
Do NOT copy and insert the first data row. | [10 empty] | Use analysis of RAW data in one or more of the following situations: | [8 empty] | Use LOG transformation in one or more of the following situations:
Double-click on any of the red mean or SD cells to check that you have done this operation properly. | [10 empty] | the data can be zero or negative; | [8 empty] | the data can only be positive and non-zero;
Colored boxes should enclose all rows of your data. | [10 empty] | the data were measured from an arbitrary reference value; | [8 empty] | the between-subject SD or change-score SD is more than ~20% of the mean;
For less than 20 subjects, delete or clear any unwanted or empty rows. | [10 empty] | the magnitude of the error is expected to be similar for all subjects. | [8 empty] | the magnitude of the percent or factor error is expected to be similar for all subjects.
To remove a trial, clear its data, or set the corrresponding "Include which trials?" cell to 0 or blank.
For more than 6 trials, copy and insert the entire column(s) for Trials 5 and/or 6 and their change scores for the RAW and the LOG data. | [10 empty] | Missing values produce delete in the panel of change scores. | [8 empty] | Missing values produce #NUM! in the panel of log-transformed data. | [6 empty] | Missing values produce delete in the panel of change scores.
And follow the instructions in the cells indicated by "Hover cursor for >6 trials". If such editing is too difficult for you, contact me. | [10 empty] | Clear delete from these cells to stop them plotting as zeros. | [8 empty] | Clear #NUM! from these cells to get complete analyses. | [6 empty] | Clear delete from these cells to stop them plotting as zeros.
[11 empty] | Copy-paste or drag a corner to restore formulae to those cells if you enter new data. | [8 empty] | Copy-paste or drag a corner to restore formulae to those cells if you enter new data. | [6 empty] | Copy-paste or -drag to restore formulae to those cells if you enter new data.
| Choose smallest effect: | 0.2
| Choose conf. limits (%): | 90 |  |  | Hover cursor for >6 trials: | Read | me |  |  |  | Hover cursor for >6 trials: | Read me | Read | me | Do not | [5 empty] | Hover cursor for >6 trials: | Read me | Read | me | Do not |  |  | Hover cursor for >6 trials: | Read me | Read | me | Do not
| RAW Data | [8 empty] | Change scores of raw data |  |  |  |  | modify | Any |  |  | 100*LOG-Transformed Data | [5 empty] | modify |  | Change scores of Log-transformed data |  |  |  |  | modify | Any
| Trial: | 1 | 2 | 3 | 4 | 5 | 6 | Mean |  | 2-1 | 3-2 | 4-3 | 5-4 | 6-5 | this col. | subject? |  |  | 1 | 2 | 3 | 4 | 5 | 6 | this col. |  | 2-1 | 3-2 | 4-3 | 5-4 | 6-5 | this col. | subject?
| Alex | 1: 43.2; 2: 43.1; 3: 44.9 |  |  | -0.1 | 1.8 | delete | delete | delete |  | 1 |  | Alex | 376.584 | 376.3523 | 380.4438 | #VALUE! | #VALUE! | #VALUE! |  |  | -0.23175 | 4.0915 | delete | delete | delete |  | #VALUE!
| Ariel | 1: 40.9; 2: 45.5; 3: 42.2 |  |  | 4.6 | -3.3 | delete | delete | delete |  | 1 |  | Ariel | 371.113 | 381.7712 | 374.242 | #VALUE! | #VALUE! | #VALUE! |  |  | 10.6582 | -7.5292 | delete | delete | delete |  | #VALUE!
| Ashley | 1: 43.2; 2: 42.2; 3: 41.5 |  |  | -1 | -0.7 | delete | delete | delete |  | 1 |  | Ashley | 376.584 | 374.242 | 372.5693 | #VALUE! | #VALUE! | #VALUE! |  |  | -2.342 | -1.6727 | delete | delete | delete |  | #VALUE!
| Bernie | 1: 48.1; 2: 48; 3: 46.9 |  |  | -0.1 | -1.1 | delete | delete | delete |  | 1 |  | Bernie | 387.3282 | 387.1201 | 384.8018 | #VALUE! | #VALUE! | #VALUE! |  |  | -0.20812 | -2.3183 | delete | delete | delete |  | #VALUE!
| Casey | 1: 39.6; 2: 43.8; 3: 43.5 |  |  | 4.2 | -0.3 | delete | delete | delete |  | 1 |  | Casey | 367.8829 | 377.9634 | 377.2761 | #VALUE! | #VALUE! | #VALUE! |  |  | 10.0805 | -0.68729 | delete | delete | delete |  | #VALUE!
| Chris | 1: 46.6; 2: 47; 3: 48.6 |  |  | 0.4 | 1.6 | delete | delete | delete |  | 1 |  | Chris | 384.1601 | 385.0148 | 388.3624 | #VALUE! | #VALUE! | #VALUE! |  |  | 0.85471 | 3.3476 | delete | delete | delete |  | #VALUE!
| Corey | 1: 47.5; 2: 46.7; 3: 47.6 |  |  | -0.8 | 0.9 | delete | delete | delete |  | 1 |  | Corey | 386.073 | 384.3744 | 386.2833 | #VALUE! | #VALUE! | #VALUE! |  |  | -1.6986 | 1.9089 | delete | delete | delete |  | #VALUE!
| Courtney | 1: 47.2; 2: 50; 3: 52.8 |  |  | 2.8 | 2.8 | delete | delete | delete |  | 1 |  | Courtney | 385.4394 | 391.2023 | 396.6511 | #VALUE! | #VALUE! | #VALUE! |  |  | 5.7629 | 5.4488 | delete | delete | delete |  | #VALUE!
| Devon | 1: 38.3; 2: 39; 3: 40.7 |  |  | 0.7 | 1.7 | delete | delete | delete |  | 1 |  | Devon | 364.545 | 366.3562 | 370.6228 | #VALUE! | #VALUE! | #VALUE! |  |  | 1.8112 | 4.2666 | delete | delete | delete |  | #VALUE!
| Drew | 1: 46.8; 2: 47.5; 3: 48.2 |  |  | 0.7 | 0.7 | delete | delete | delete |  | 1 |  | Drew | 384.5883 | 386.073 | 387.5359 | #VALUE! | #VALUE! | #VALUE! |  |  | 1.4847 | 1.4629 | delete | delete | delete |  | #VALUE!
| Dylan | 42.4 | 44.9 | 46.5 | 46.1 |  |  |  |  | 2.5 | 1.6 | -0.4 | delete | delete |  | 1 |  | Dylan | 374.7148 | 380.4438 | 383.9452 | 383.0813 | #VALUE! | #VALUE! |  |  | 5.7289 | 3.5015 | -0.86394 | delete | delete |  | #VALUE!
| Frances | 50.7 | 49.8 | 50.2 | 51.9 |  |  |  |  | -0.9 | 0.4 | 1.7 | delete | delete |  | 1 |  | Frances | 392.5926 | 390.8015 | 391.6015 | 394.9319 | #VALUE! | #VALUE! |  |  | -1.7911 | 0.8 | 3.3304 | delete | delete |  | #VALUE!
| Gene | 42.7 | 43.9 | 46.7 | 45.6 |  |  |  |  | 1.2 | 2.8 | -1.1 | delete | delete |  | 1 |  | Gene | 375.4199 | 378.1914 | 384.3744 | 381.9908 | #VALUE! | #VALUE! |  |  | 2.7715 | 6.183 | -2.3836 | delete | delete |  | #VALUE!
| Jaimie | 48.3 | 52.5 | 49.9 | 48.2 |  |  |  |  | 4.2 | -2.6 | -1.7 | delete | delete |  | 1 |  | Jaimie | 387.7432 | 396.0813 | 391.0021 | 387.5359 | #VALUE! | #VALUE! |  |  | 8.3382 | -5.0792 | -3.4662 | delete | delete |  | #VALUE!
| Jean | 51.3 | 47 | 45.1 | 48.9 |  |  |  |  | -4.3 | -1.9 | 3.8 | delete | delete |  | 1 |  | Jean | 393.7691 | 385.0148 | 380.8882 | 388.9777 | #VALUE! | #VALUE! |  |  | -8.7543 | -4.1265 | 8.0895 | delete | delete |  | #VALUE!
| Jesse | 56.5 | 55.7 | 55.9 | 56.1 |  |  |  |  | -0.8 | 0.2 | 0.2 | delete | delete |  | 1 |  | Jesse | 403.4241 | 401.998 | 402.3564 | 402.7136 | #VALUE! | #VALUE! |  |  | -1.426 | 0.35842 | 0.35714 | delete | delete |  | #VALUE!
| Jo | 37.9 | 39.1 | 39.3 | 39 |  |  |  |  | 1.2 | 0.2 | -0.3 | delete | delete |  | 1 |  | Jo | 363.4951 | 366.6122 | 367.1225 | 366.3562 | #VALUE! | #VALUE! |  |  | 3.1171 | 0.51021 | -0.76629 | delete | delete |  | #VALUE!
| Jody | 41.7 | 43.6 | 43.1 | 40.4 |  |  |  |  | 1.9 | -0.5 | -2.7 | delete | delete |  | 1 |  | Jody | 373.0501 | 377.5057 | 376.3523 | 369.883 | #VALUE! | #VALUE! |  |  | 4.4556 | -1.1534 | -6.4693 | delete | delete |  | #VALUE!
| Jordan | 48.8 | 51.3 | 46.7 | 48.1 |  |  |  |  | 2.5 | -4.6 | 1.4 | delete | delete |  | 1 |  | Jordan | 388.773 | 393.7691 | 384.3744 | 387.3282 | #VALUE! | #VALUE! |  |  | 4.996 | -9.3947 | 2.9538 | delete | delete |  | #VALUE!
| Kade | 40.5 | 42.4 | 41.1 | 40.8 |  |  |  |  | 1.9 | -1.3 | -0.3 | delete | delete |  | 1 |  | Kade | 370.1302 | 374.7148 | 371.6008 | 370.8682 | #VALUE! | #VALUE! |  |  | 4.5846 | -3.114 | -0.7326 | delete | delete |  | #VALUE!
| Mean | 45.11 | 46.15 | 46.07 | 46.51 |  |  | 45.8814 | Mean of change | 1.04 | -0.08 | 0.06 |  |  | Mean | 20 |  | Mean | 380.3705 | 382.7801 | 382.6203 | #VALUE! |  |  | #VALUE! | Mean | 2.4096 | -0.1598 | 0.0048844 |  |  |  | 0
| SD | 4.8502 | 4.3045 | 4.2399 | 5.3691 |  |  | 4.6057 | SD of change | 2.152 | 1.9801 | 1.8566 |  |  | 2.0291 |  |  | SD | 10.6242 | 9.2721 | 9.0985 | #VALUE! |  |  | #VALUE! | SD | 4.6704 | 4.2307 | 4.0387 |  |  | #DIV/0!
| Total no. of subjects | 20 | 20 | 20 | 10 | 0 | 0 | 20 | Total no. of subjects | 20 | 20 | 10 | 0 | 0 | 20 |  |  | N | 20 | 20 | 20 | 10 | 0 | 0 |  | N | 20 | 20 | 10 | 0 | 0
| Include which trials? | 1 | 1 | 1 | 1 | 0 | 0 | [10 empty] | Include which trials? | 1 | 1 | 1 | 1 | 0 | 0
| DF | 19 | 19 | 19 | 9 | 0 | 0 | 19 | [9 empty] | DF | 19 | 19 | 19 | 9 | 0 | 0 | Mean | Factor change in mean | 1.0244 | 0.9984 | 1 |  |  | Mean
[18 empty] | Back-transformed mean | 44.8671 | 45.9614 | 45.888 |  |  |  |  | SD of change as a factor | 1.0478 | 1.0432 | 1.0412
[18 empty] | SD as a ×/÷ factor | 1.1121 | 1.0972 | 1.0953 |  |  |  |  | Change in mean (%) | 2.4389 | -0.15967 | 0.0048845
For your data, you may have to set max and min values of X and Y axes to appropriate values. | [17 empty] | SD as a CV (%) | 11.2091 | 9.7155 | 9.5253 |  |  |  |  | SD of change as CV (%) | 4.7812 | 4.3215 | 4.1214
[8 empty] | Measures of reliability via the RAW variable | [9 empty] | Total no. of subjects | 20 | 20 | 20 | 10 | 0 | 0 |  | Total no. of subjects | 20 | 20 | 10 | 0 | 0
[8 empty] | Raw | Trials | 2-1 | 3-2 | 4-3 | 5-4 | 6-5 | Mean | [9 empty] | Measures of reliability via the LOG-TRANSFORMED variable
[9 empty] | Change in mean | 1.04 | -0.08 | 0.06 |  |  |  |  | Clear #NUM! and "delete" from the log-transformed cells to stop them plotting as zeros. | [7 empty] | Factors | Trials | 2-1 | 3-2 | 4-3 | 5-4 | 6-5 | Mean
[9 empty] | Lower conf. limit | 0.20795 | -0.84558 | -1.0163 |  |  |  |  | Restore the log-transformation formula to those cells if you enter new data. | [8 empty] | Factor change in mean | 1.0244 | 0.9984
[9 empty] | Upper conf. limit | 1.872 | 0.68558 | 1.1363 | [13 empty] | Lower conf. limit | 1.0061 | 0.9822
[9 empty] | Conf. limits as ±value | 0.83205 | 0.76558 | 1.0763 | [13 empty] | Upper conf. limit | 1.0431 | 1.0149
[9 empty] | Typical error | 1.5217 | 1.4001 | 1.3128 |  |  | 1.4348 | [10 empty] | Conf. limits as ×/÷factor | 1.0182 | 1.0165
[9 empty] | Lower conf. limit | 1.2081 | 1.1116 | 0.95752 |  |  | 1.2235 | [10 empty] | Factor typical error | 1.0336 | 1.0304
[9 empty] | Upper conf. limit | 2.0853 | 1.9187 | 2.1599 |  |  | 1.8014 | [10 empty] | Lower conf. limit | 1.0266 | 1.024
[9 empty] | Conf. limits as approx. ×/÷factor | 1.3138 | 1.3138 | 1.5019 |  |  | 1.2134 | [10 empty] | Upper conf. limit | 1.0463 | 1.0418
[9 empty] | Bias correction factor | 1.0132 | 1.0132 | 1.0278 |  |  | 1.0066 | [10 empty] | Conf. limits as approx. ×/÷factor | 1.0096 | 1.0087
[9 empty] | Smallest effect from pure SD | 0.86513 | 0.80728 | 0.88862 |  |  | 0.8753 | [10 empty] | Bias correction factor | 1.0004 | 1.0004
[9 empty] | Lower conf. limit | 0.54985 | 0.51412 | 0.57843 |  |  | 0.56025 | [10 empty] | Smallest effect from pure SD | 1.019 | 1.0175
[9 empty] | Upper conf. limit | 1.093 | 1.0194 | 1.1157 |  |  | 1.1038 | [10 empty] | Lower conf. limit | 1.012 | 1.0111
[9 empty] | Smallest effect from observed SD | 0.91709 | 0.85447 | 0.9266 |  |  | 0.92114 | [10 empty] | Upper conf. limit | 1.0241 | 1.0222
[9 empty] | Lower conf. limit | 0.7281 | 0.67839 | 0.73565 |  |  | 0.73132 | [10 empty] | Smallest effect from observed SD | 1.0201 | 1.0185
[9 empty] | Upper conf. limit | 1.2568 | 1.171 | 1.2698 |  |  | 1.2623 | [10 empty] | Lower conf. limit | 1.016 | 1.0147
[9 empty] | Degrees of freedom | 19 | 19 | 9 | 0 | 0 | 37.9525 | [10 empty] | Upper conf. limit | 1.0277 | 1.0255
[8 empty] | Standardized (when ICC>0) | [17 empty] | Degrees of freedom | 19 | 19 | 0 | 0 | 0
[9 empty] | Change in mean | 0.24043 | -0.01982 | 0.013504 | [12 empty] | Percents
[9 empty] | Lower conf. limit | 0.048074 | -0.20949 | -0.22873 | [13 empty] | Change in mean (%) | 2.4389 | -0.15967
[9 empty] | Upper conf. limit | 0.43278 | 0.16985 | 0.25574 | [13 empty] | Lower conf. limit | 0.60566 | -1.7796
[9 empty] | Conf. limits as ±value | 0.19235 | 0.18967 | 0.24223 | [13 empty] | Upper conf. limit | 4.3055 | 1.4869
[9 empty] | Typical error | 0.35178 | 0.34687 | 0.29548 |  |  | 0.31152 | [10 empty] | Conf. limits as approx. ±value | 1.8499 | 1.6332
[9 empty] | Lower conf. limit | 0.27929 | 0.27539 | 0.21551 |  |  | 0.26565 | [10 empty] | Typical error as a CV (%) | 3.3576 | 3.0368
[9 empty] | Upper conf. limit | 0.48208 | 0.47535 | 0.48612 |  |  | 0.39113 | [10 empty] | Lower conf. limit | 2.6566 | 2.4035
[9 empty] | Conf. limits as approx. ×/÷factor | 1.3138 | 1.3138 | 1.5019 |  |  | 1.2134 | [10 empty] | Upper conf. limit | 4.6297 | 4.1849
[9 empty] | Bias correction factor | 1.0132 | 1.0132 | 1.0278 |  |  | 1.0066 | [10 empty] | Conf. limits as approx. ×/÷factor | 1.3201 | 1.3195
[8 empty] | Correlations | [17 empty] | Bias correction factor | 1.0134 | 1.0134
[9 empty] | Pearson correlation | 0.90141 | 0.89804 | 0.94721 |  |  | 0.91003 | [10 empty] | Smallest effect from pure SD | 1.8995 | 1.7522
[9 empty] | Lower conf. limit | 0.79348 | 0.78683 | 0.82816 | [13 empty] | Lower conf. limit | 1.2035 | 1.1135
[9 empty] | Upper conf. limit | 0.95437 | 0.95276 | 0.98449 | [13 empty] | Upper conf. limit | 2.4055 | 2.217
[9 empty] | Bias correction factor | 1.0058 | 1.006 | 1.0084 | [13 empty] | Smallest effect from observed SD | 2.0142 | 1.8541
[9 empty] | Intraclass correlation (ICC) | 0.90077 | 0.90328 | 0.92804 |  |  | 0.91276 | [10 empty] | Lower conf. limit | 1.5959 | 1.4692
[9 empty] | Lower conf. limit | 0.79664 | 0.80149 | 0.79704 |  |  | 0.84434 | [10 empty] | Upper conf. limit | 2.7706 | 2.5496
[9 empty] | Upper conf. limit | 0.95298 | 0.9542 | 0.96989 |  |  | 0.95588 | [9 empty] | Standardized (when ICC>0)
[9 empty] | Effective no. of trials | 2 | 2 | 1.4737 |  |  | 2.9975 | [10 empty] | Change in mean | 0.25612 | -0.0184
[9 empty] | F | 19.1557 | 19.6772 | 20.0061 |  |  | 32.3633 | [10 empty] | Lower conf. limit | 0.064181 | -0.20675
[9 empty] | Numerator DF | 19 | 19 | 19 |  |  | 19 | [10 empty] | Upper conf. limit | 0.44805 | 0.16995
[9 empty] | Denominator DF | 19 | 19 | 9 | 0 | 0 | 37.9525 | [10 empty] | Conf. limits as ±value | 0.19194 | 0.18835
[9 empty] | F lower | 8.8346 | 9.0752 | 6.7871 |  |  | 17.259 | [10 empty] | Typical error | 0.35102 | 0.34446
[9 empty] | F upper | 41.5344 | 42.6652 | 48.4688 |  |  | 65.9398 | [10 empty] | Lower conf. limit | 0.27868 | 0.27347
[9 empty] | Fisher r | 1.4797 | 1.462 | 1.804 |  |  | 1.5277 | [10 empty] | Upper conf. limit | 0.48104 | 0.47205
[9 empty] | Fisher SE^-2 | 17 | 17 | 7 | [13 empty] | Conf. limits as approx. ×/÷factor | 1.3138 | 1.3138
[9 empty] | Pure variance | 18.7111 | 16.2926 | 19.7411 |  |  | 19.1539 | [10 empty] | Bias correction factor | 1.0132 | 1.0132
[9 empty] | SE of pure variance | 6.7804 | 5.8878 | 6.9165 |  |  | 6.8741 | [9 empty] | Correlations
[9 empty] | LCL | 7.5583 | 6.6081 | 8.3645 |  |  | 7.847 | [10 empty] | Pearson correlation | 0.90365 | 0.89937
[9 empty] | UCL | 29.8638 | 25.9772 | 31.1178 |  |  | 30.4607 | [10 empty] | Lower conf. limit | 0.79792 | 0.78945
[26 empty] | Upper conf. limit | 0.95544 | 0.9534
[26 empty] | Bias correction factor | 1.0057 | 1.0059
[26 empty] | Intraclass correlation | 0.90116 | 0.9045
[26 empty] | Lower conf. limit | 0.79739 | 0.80387
[26 empty] | Upper conf. limit | 0.95317 | 0.95479
Measures of reliability of log-transformed variable
[27 empty] | 2-1 | 3-2 | 4-3 | 5-4 | 6-5 | Mean
[26 empty] | Change in mean | 2.4096 | -0.1598
[26 empty] | Lower conf. limit | 0.60383 | -1.7956
[26 empty] | Upper conf. limit | 4.2154 | 1.476
[26 empty] | Typical error | 3.3025 | 2.9916 |  |  |  | #DIV/0!
[26 empty] | Lower conf. limit | 2.6219 | 2.3751 |  |  |  | #DIV/0!
[26 empty] | Upper conf. limit | 4.5257 | 4.0997 |  |  |  | #DIV/0!
[26 empty] | Bias correction factor | 1.0132 | 1.0132
[26 empty] | Smallest effect from pure SD | 1.8817 | 1.737 |  |  |  | #DIV/0!
[26 empty] | Lower conf. limit | 1.1963 | 1.1073 |  |  |  | #DIV/0!
[26 empty] | Upper conf. limit | 2.377 | 2.1927 |  |  |  | #DIV/0!
[26 empty] | Smallest effect from observed SD | 1.9942 | 1.8371 |  |  |  | #VALUE!
[26 empty] | Lower conf. limit | 1.5833 | 1.4586 |  |  |  | #DIV/0!
[26 empty] | Upper conf. limit | 2.7329 | 2.5176 |  |  |  | #DIV/0!
[26 empty] | DF | 19 | 19 | 0 | 0 | 0 | #DIV/0!
[26 empty] | Stdized change in mean | 0.25612 | -0.0184
[26 empty] | Lower conf. limit | 0.064181 | -0.20675
[26 empty] | Upper conf. limit | 0.44805 | 0.16995
[26 empty] | Stdized typical error | 0.35102 | 0.34446
[26 empty] | Lower conf. limit | 0.27868 | 0.27347
[26 empty] | Upper conf. limit | 0.48104 | 0.47205
[26 empty] | Pearson r | 0.90365 | 0.89937 |  |  |  | 0.90153
[26 empty] | Lower conf. limit | 0.79792 | 0.78945
[26 empty] | Upper conf. limit | 0.95544 | 0.9534
[26 empty] | Bias correction factor | 1.0057 | 1.0059
[26 empty] | Intraclass r | 0.90116 | 0.9045 |  |  |  | #DIV/0!
[26 empty] | Lower conf. limit | 0.79739 | 0.80387 |  |  |  | #DIV/0!
[26 empty] | Upper conf. limit | 0.95317 | 0.95479 |  |  |  | #DIV/0!
[26 empty] | Effective no. of trials | 2 | 2 |  |  |  | #DIV/0!
[26 empty] | F | 19.2354 | 19.9419 |  |  |  | #DIV/0!
[26 empty] | Numerator DF | 19 | 19 |  |  |  | #DIV/0!
[26 empty] | Denominator DF | 19 | 19 | 0 | 0 | 0 | #DIV/0!
[26 empty] | F lower | 8.8714 | 9.1972 |  |  |  | #DIV/0!
[26 empty] | F upper | 41.7071 | 43.2392 |  |  |  | #DIV/0!
[26 empty] | Fisher r | 1.4918 | 1.4689 |  |  |  | 1.4804
[26 empty] | Fisher SE^-2 | 17 | 17
[26 empty] | Pure variance | 88.5159 | 75.4275 |  |  |  | #DIV/0!
[26 empty] | SE of pure variance | 32.0621 | 27.2211 |  |  |  | #DIV/0!
[26 empty] | LCL | 35.7784 | 30.6528 |  |  |  | #DIV/0!
[26 empty] | UCL | 141.2534 | 120.2022 |  |  |  | #DIV/0!
Note on C2: Hopkins WG (2015). Spreadsheets for analysis of validity and reliability. Sportscience 19, 36-42 (sportsci.org/2015/ValidRely.htm)
Note on C26: This number generates smallest or other important magnitude thresholds for differences or changes when it is appropriate to define such thresholds by standardization. The default is 0.2, for the smallest important effect. Insert 0.6, 1.2, 2.0, or 4.0 to get thresholds for moderate, large, very large and extremely large changes. The pure and observed between-subject SD are multiplied by this value. Use the threshold derived from the pure between-subject SD in most settings. The threshold from the observed SD is appropriate only for performance indicators derived for team-sport players from games or matches. However, in the absence of a reliability study, researchers inevitably use the observed SD from the reference group or baseline test.
Note on C53: Set to blank or 0 to omit from the calculations. Set to anything else to include.
Note on D3: Fixed error in cells AD152-AH152 that prevented calculation of CLs for smallest important from pure SD with log transformation.
Note on E3: Apr: This spreadsheet now contains simulated data for counter-movement jump height.
Note on F3: Oct. Added smallest important effect (difference or change in the variable) derived by standardization.. July. Added mean values for Pearson correlation. June: Changed instructions for dealing with missing data. Added more advice about when and when not to use log transformation.
Note on G3: May: Changed the SD for standardizing back to the "pure" SD rather than the observed SD, but included code to show standardized values only if the ICC is positive. A negative ICC implies no real differences between subjects, either because that is the true state of affairs or because sampling variation makes it seem so; hence standardized values for typical error and changes in the mean are effectively infinite. Added comments that the typical error should be doubled to interpret its magnitude, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160 March: Provided user-friendly estimates of mean and SD of change scores.
Note on H3: Removed error of measurement from the formulae for standardizing. I will address this issue in the forthcoming article. Replaced unbiased estimates with the usual biased estimates, and included instead the correction factors.
Note on H27: For >6 trials, copy and insert this entire column and/or the next column. Then label with 5, 6, 7 and so on. Repeat for the log-transformed data, if your data require logs.
Note on I3: Standardized changes in mean and typical error, instructions about factor effects, better estimates of intraclass correlation coefficients and their confidence limits.
Note on I27: For >6 trials, copy and insert this entire column and/or the previous column. then label with 5, 6, 7 and so on. Repeat for the log-transformed data, if your data require logs.
Note on J52: Total number of different subjects contributing to the mean, not the mean number of subjects.
Note on J76: To obtain the standardized measures, the above change in mean, typical error and confidence limits are all divided by the "pure" between-subject SD (=sqrt(SD^2-sd^2), where SD is the mean SD for the trials included in the analysis (derived by averaging the variances, weighted by the degrees of freedom) and sd is the typical error. Standardized measures are dimensionless: they do not have units. If the ICC is zero or negative, the standardized values are not calculated, because the pure SD is effectively zero. I have not corrected the standardized values for the small amount of upward bias that arises from downward bias in the between-subject SD. The correction factor for standardized effects is 1-3/(4*v-1), where v is the degrees of freedom for the SD. Becker BJ (1988). Synthesizing standardized mean-change measures. British Journal of Mathematical and Statistical Psychology 41, 257-278.
Note on J86: The magnitude thresholds corresponding to those of the typical error are 0.99, 0.90, 0.75, 0.50, and 0.20 for extremely high, very high, high, moderate, and low reliability.
Note on K64: You should double the typical error before you interpret its magnitude, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160.
Note on K68: The standard deviation derived from a small sample is biased slightly low. The correction factor used here comes from Gurland and Tripathi (1971). It's probably better not to use this factor, because it is practically negligible for sample sizes of ~10 or more, and any statistical manipulations involving the SD should be done with the uncorrected SD or the variance (the square of the SD, which is not biased). Gurland J, Tripathi RC (1971). A simple approximation for unbiased estimation of the standard deviation. American Statistician 25(4), 30-32
Note on K77: Thresholds for interpretation of the change in the mean are 0.2, 0.6, 1.2, 2.0, 4.0 for small, moderate, large, very large and extremely large.
Note on K81: The standardized typical error should be doubled to interpret its magnitude using the thresholds for interpretation of the change in the mean (0.2, 0.6, 1.2, 2.0, 4.0 for small, moderate, large, very large and extremely large. Alternatively, halve the usual trresholds. Reason: SDs need to be doubled before you interpret their magnitudes, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160.
Note on K85: The standard deviation derived from a small sample is biased slightly low. The correction factor used here comes from Gurland and Tripathi (1971). It's probably better not to use this factor, because it is practically negligible for sample sizes of ~10 or more, and any statistical manipulations involving the SD should be done with the uncorrected SD or the variance (the square of the SD, which is not biased). Gurland J, Tripathi RC (1971). A simple approximation for unbiased estimation of the standard deviation. American Statistician 25(4), 30-32
Note on K87: Corrected for small-sample bias using the factor shown three rows down.
Note on K90: The Pearson and intraclass correlation are biased low. The factor to correct the Pearson is 1 + (1-r^2)/(2(n-3)), where n is the sample size. Olkin, I., & Pratt, J.W. (1958). Unbiased estimation of certain correlation coefficients. Annals of Mathematical Statistics, 29, 201-211.
Note on K91: =1-sd^2/SD^2, where sd is the typical error and SD is the mean between-subject standard deviation in the two trials (derived by weighting the variances by their degrees of freedom). Also corrected for small-sample bias using the same factor as for the Pearson. My simulations show that this factor does not quite correct the bias, but the remaining bias is negligible.
Note on N27: Once you have inserted the extra raw-data and change-score columns, select this entire column, then drag-copy it across all the change columns to the right. Do not drag it beyond the change coumns. Repeat for the log-transformed data, if your data require logs.
Note on O27: For >6 trials, copy and insert this entire column and/or the next column. Repeat for the log-transformed data, if your data require logs.
Note on P27: For >6 trials, copy and insert this entire column and/or the previous column. Repeat for the log-transformed data, if your data require logs.
Note on Q52: Total number of different subjects contributing to the mean, not the mean number of subjects.
Note on Q75: Adjusted for interdependence of consecutive statistics and for missing values.
Note on Q87: Confidence limits for mean Pearson not available.
Note on U53: Set to blank or 0 to omit from the calculations. Set to anything else to include. You can do it here or in the corresponding cells underneath the raw data.
Note on U56: Use when SD exceeds ~50%.
Note on U57: Use when SD is less than ~50%.
Note on Y27: Once you have inserted the extra columns, select this entire column, then drag-copy it across all the columns to the right. Do not drag it into the Mean column.
Note on Z27: Copy and insert this entire column and/or the next column for >6 trials. You will need to have done this operation with the columns for raw data first.
Note on AA27: Copy and insert this entire column and/or the previous column for >6 trials. You will need to have done this operation with the columns for raw data first.
Note on AB58: Total number of different subjects contributing to the mean, not the mean number of subjects.
Note on AB60: Use when changes in mean and errors exceed ~50%.
Note on AB77: Use when changes in mean and errors are less than ~50%.
Note on AB93: To obtain the standardized measures, the above change in mean, typical error and confidence limits are all divided by the "pure" between-subject SD (=sqrt(SD^2-sd^2), where SD is the mean SD for the trials included in the analysis (derived by averaging the variances, weighted by the degrees of freedom) and sd is the typical error. Standardized measures are dimensionless: they do not have units. These calculations are done with log-transformed values. Back-transformation is not an issue. If the ICC is zero or negative, the standardized values are not calculated, because the pure SD is effectively zero. I have not corrected the standardized values for the small amount of upward bias that arises from downward bias in the between-subject SD. The correction factor for standardized effects is 1-3/(4*v-1), where v is the degrees of freedom for the SD. Becker BJ (1988). Synthesizing standardized mean-change measures. British Journal of Mathematical and Statistical Psychology 41, 257-278.
Note on AB103: The magnitude thresholds corresponding to those of the typical error are 0.99, 0.90, 0.75, 0.50, and 0.20 for extremely high, very high, high, moderate, and low reliability.
Note on AC54: Use when factor change exceeds ~1.5.
Note on AC55: Use when SD as factor exceeds ~1.5.
Note on AC56: Use when change is less than ~50%.
Note on AC57: Use when SD is less than ~50%.
Note on AC65: You should double the typical error (here, square it) before you interpret its magnitude, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160.
Note on AC69: The standard deviation derived from a small sample is biased slightly low. The correction factor used here comes from Gurland and Tripathi (1971). It's probably better not to use this factor, because it is practically negligible for sample sizes of ~10 or more, and any statistical manipulations involving the SD should be done with the uncorrected SD or the variance (the square of the SD, which is not biased). Gurland J, Tripathi RC (1971). A simple approximation for unbiased estimation of the standard deviation. American Statistician 25(4), 30-32
Note on AC82: You should double the typical error before you interpret its magnitude, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160. For percent errors >20%, it's not a simple matter of doubling. Instead, consider the factor typical error, which you have to square.
Note on AC86: The standard deviation derived from a small sample is biased slightly low. The correction factor used here comes from Gurland and Tripathi (1971). It's probably better not to use this factor, because it is practically negligible for sample sizes of ~10 or more, and any statistical manipulations involving the SD should be done with the uncorrected SD or the variance (the square of the SD, which is not biased). Gurland J, Tripathi RC (1971). A simple approximation for unbiased estimation of the standard deviation. American Statistician 25(4), 30-32
Note on AC94: Thresholds for interpretation of the change in the mean are 0.2, 0.6, 1.2, 2.0, 4.0 for small, moderate, large, very large and extremely large.
Note on AC98: The standardized typical error should be doubled to interpret its magnitude using the thresholds for interpretation of the change in the mean (0.2, 0.6, 1.2, 2.0, 4.0 for small, moderate, large, very large and extremely large. Alternatively, halve the usual trresholds. Reason: SDs need to be doubled before you interpret their magnitudes, according to Smith TB, Hopkins WG (2011). Variability and predictability of finals times of elite rowers. Medicine and Science in Sports and Exercise 43, 2155-2160.
Note on AC102: The standard deviation derived from a small sample is biased slightly low. The correction factor used here comes from Gurland and Tripathi (1971). It's probably better not to use this factor, because it is practically negligible for sample sizes of ~10 or more, and any statistical manipulations involving the SD should be done with the uncorrected SD or the variance (the square of the SD, which is not biased). Gurland J, Tripathi RC (1971). A simple approximation for unbiased estimation of the standard deviation. American Statistician 25(4), 30-32
Note on AC104: Corrected for small-sample bias using the factor shown three rows down. The calculations are done with log-transformed values. Back-transformation is not an issue.
Note on AC107: The Pearson and intraclass correlation are biased low. The factor to correct the Pearson is 1 + (1-r^2)/(2(n-3)), where n is the sample size. Olkin, I., & Pratt, J.W. (1958). Unbiased estimation of certain correlation coefficients. Annals of Mathematical Statistics, 29, 201-211.
Note on AC108: =1-sd^2/SD^2, where sd is the typical error and SD is the mean between-subject standard deviation in the two trials (derived by weighting the variances by their degrees of freedom). Also corrected for small-sample bias using the same factor as for the Pearson. My simulations show that this factor does not quite correct the bias, but the remaining bias is negligible. These calculations are done with log-transformed values. Back-transformation is not an issue.
Note on AF27: Once you have inserted the extra log-data and change-score columns, select this entire column, then drag-copy it across all the change columns to the right. Do not drag it beyond the change coumns. You will need to have done this operation for the columns with raw data first.
Note on AG27: For >6 trials, copy and insert this entire column and/or the next column. You will need to have done this operation with the columns for raw data first.
Note on AH27: For >6 trials, copy and insert this entire column and/or the previous column. You will need to have done this operation with the columns for raw data first.
Note on AI58: Total number of different subjects contributing to the mean, not the mean number of subjects.
Note on AI76: Adjusted for interdependence of consecutive statistics and for missing values.
Note on AI104: Confidence limits for mean Pearson not available.

## 1-way
SIMULATION AND ANALYSIS FOR 1-WAY RELIABILITY
Hover cursor for citation:
This spreadsheet simulates and analyzes data for a 1-way reliability study. It was adapted from a spreadsheet in the article Understanding Stats via Simulations.
Sequence of development of the simulation:
The data are 10 repeated measurements on each of 20 subjects. The data could be something like distance of high-speed running in games
or values of repeated tests on athletes, when you are confident that the tests are in some sense all similar (no habituation or order effects).
Such data are unusual, but I have provided this spreadsheet to help you understand reliability, even if you don't use it for your own data.
All subjects have been given the same variability from measurement to measurement, the within-subject random error.
For this 1-way analysis of reliability, the measurements are not associated with particular games.
The data are simulated by assigning percent standard deviations (coefficients of variation) to the differences between subjects and to the within-subject random error.
The data therefore need log transformation before analysis, the aim of which is to estimate the two CVs and to express them as intraclass correlations. coefficient.
An analysis is also shown for the raw data, and for the mean of a chosen number of repeated measurements.
Change the values in bold blue and see what happens to the outcomes in red.
To generate a whole new set of data, click in a blank cell away from other cells and hit Ctrl-D.
This spreadsheet works with missing data. Try deleting some. Copy-drag or copy-paste from adjacent cells to reinstate those cells.
To analyze your own data, replace the main block of data shown in plum color.
You can also delete or copy-and-insert whole rows and whole columns.
Don't delete and don't copy-and-insert the first data row or the first five data columns (or you will corrupt the spreadsheet).
For data requiring log transformation, whatever deletions and insertions you do to the block of raw data
will have to be done to the block of log-transformed data. Check that the right cells have been transformed.
Read the article for an explanation of the analyses.
|  |  |  | Do not use log transformation in one or more of the following situations: | [11 empty] | Use log transformation in one or more of the following situations:
| Choose confidence level (%): | 90 |  | the data can be zero or negative; | [11 empty] | the data can only be positive and non-zero;
Simulation to create raw observed values |  |  |  | the data were measured from an arbitrary reference value; | [11 empty] | the within-subject, between-subject or between-trial SD is more than ~20% of the mean;
|  | Depedent variable |  | the magnitude of the error is expected to be similar for all subjects. | [11 empty] | the magnitude of the percent or factor error is expected to be similar for all subjects.
True values
| Mean | 400
| Between-subject CV (%) | 30 | [7 empty] | <– Insert or delete whole columns here –> | [15 empty] | <– Insert or delete whole columns here –>
| Equivalent ´¤¸ factor SD | 1.3 | [16 empty] | 100*log(observed values)
| Within-subject random error (%) |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [6 empty] | If you have missing raw data, you will have to delete #NUM! from the corresponding cells here.
[16 empty] | For sums of | [15 empty] | For sums of
[14 empty] | Mean |  | squares | [13 empty] | Mean |  | squares
Do not copy/insert this row | 292.501 | Alex | 239.6924 | 236.4473 | 311.3236 | 301.5061 | 271.7584 | 292.3313 | 282.3411 | 253.0482 | 286.1852 | 300.8266 |  | 277.546 |  | 78856.7109 | 10 |  | 547.9357 | 546.5725 | 574.0833 | 570.879 | 560.4914 | 567.7888 | 564.3116 | 553.358 | 565.6639 | 570.6534 |  | 562.1738 |  | 5604.0674 | 10
| 217.4971 | Ariel | 201.0439 | 188.628 | 294.0247 | 225.5796 | 246.2075 | 210.934 | 200.7848 | 203.1414 | 208.778 | 225.0013 |  | 220.4123 |  | 212970.2645 | 10 |  | 530.3523 | 523.9777 | 568.3664 | 541.8673 | 550.6175 | 535.1546 | 530.2234 | 531.3902 | 534.1272 | 541.6106 |  | 538.7687 |  | 22163.3423 | 10
| 585.131 | Ashley | 487.6766 | 620.0084 | 637.1947 | 567.4092 | 685.9775 | 591.1091 | 632.572 | 532.3053 | 558.7329 | 573.8126 |  | 588.6798 |  | 494317.3727 | 10 |  | 618.9652 | 642.9733 | 645.7075 | 634.1081 | 653.0845 | 638.2001 | 644.9794 | 627.7217 | 632.5672 | 635.2303 |  | 637.3537 |  | 26529.7693 | 10
| 325.4019 | Bernie | 333.9448 | 338.5362 | 348.4354 | 279.775 | 341.5422 | 320.686 | 338.4336 | 334.5342 | 347.1179 | 358.2554 |  | 334.1261 |  | 10382.0929 | 10 |  | 581.0976 | 582.4631 | 585.3453 | 563.3986 | 583.3471 | 577.0463 | 582.4328 | 581.2739 | 584.9664 | 588.1246 |  | 580.9496 |  | 239.8158 | 10
| 251.5775 | Casey | 229.5743 | 272.7232 | 244.0909 | 285.805 | 231.6308 | 287.8968 | 256.3092 | 278.443 | 273.7455 | 245.7187 |  | 260.5937 |  | 111838.2389 | 10 |  | 543.6227 | 560.8458 | 549.7541 | 565.531 | 544.5145 | 566.2602 | 554.6384 | 562.9213 | 561.2199 | 550.4187 |  | 555.9727 |  | 8924.5678 | 10
| 271.8068 | Chris | 256.6987 | 266.183 | 293.1209 | 301.8449 | 290.0849 | 237.6346 | 263.289 | 275.632 | 265.848 | 231.608 |  | 268.1944 |  | 96340.0039 | 10 |  | 554.7903 | 558.4184 | 568.0585 | 570.9913 | 567.0174 | 547.0734 | 557.3252 | 561.9066 | 558.2925 | 544.5046 |  | 558.8378 |  | 7294.7737 | 10
| 241.3886 | Corey | 274.8483 | 210.3628 | 239.6075 | 198.3794 | 231.3861 | 251.4009 | 274.5904 | 230.781 | 225.4725 | 252.8492 |  | 238.9678 |  | 162255.41 | 10 |  | 561.6219 | 534.8834 | 547.9002 | 529.0181 | 544.4088 | 552.7049 | 561.5281 | 544.1469 | 541.8198 | 553.2793 |  | 547.1311 |  | 14988.9161 | 10
| 321.8939 | Courtney | 360.6193 | 355.7656 | 361.1066 | 290.8786 | 317.6501 | 331.0857 | 332.0148 | 273.1538 | 355.3446 | 320.4571 |  | 329.8076 |  | 13351.5221 | 10 |  | 588.7823 | 587.4272 | 588.9173 | 567.2906 | 576.095 | 580.2377 | 580.518 | 561.0035 | 587.3088 | 576.9748 |  | 579.4555 |  | 408.4675 | 10
| 366.0492 | Devon | 441.5864 | 367.8823 | 325.821 | 368.1434 | 376.2312 | 370.5928 | 382.6442 | 411.7008 | 340.4224 | 329.285 |  | 371.431 |  | 258.4319 | 10 |  | 609.0374 | 590.7763 | 578.6348 | 590.8473 | 593.0204 | 591.5104 | 594.7106 | 602.0297 | 583.0187 | 579.6924 |  | 591.3278 |  | 300.4265 | 10
| 462.9607 | Drew | 477.9747 | 459.381 | 489.0625 | 467.8814 | 465.2396 | 519.8752 | 436.6192 | 473.988 | 482.6432 | 483.5783 |  | 475.6243 |  | 119414.599 | 10 |  | 616.9558 | 612.988 | 619.249 | 614.8215 | 614.2553 | 625.3589 | 607.9061 | 616.1182 | 617.9278 | 618.1213 |  | 616.3702 |  | 9316.8524 | 10
| 379.1898 | Dylan | 365.7932 | 450.3114 | 397.8563 | 465.9892 | 380.2192 | 357.0341 | 393.5001 | 354.9031 | 372.7811 | 366.0454 |  | 390.4433 |  | 5806.1638 | 10 |  | 590.2068 | 610.9939 | 598.6091 | 614.4162 | 594.0748 | 587.7831 | 597.5081 | 587.1845 | 592.0991 | 590.2757 |  | 596.3152 |  | 1095.8914 | 10
| 617.3401 | Frances | 521.6869 | 634.5994 | 623.4483 | 659.3571 | 654.7378 | 611.9848 | 580.529 | 634.2153 | 663.2026 | 720.3325 |  | 630.4094 |  | 697287.5253 | 10 |  | 625.7068 | 645.2994 | 643.5266 | 649.1265 | 648.4235 | 641.6707 | 636.394 | 645.2388 | 649.7081 | 657.9713 |  | 644.3066 |  | 34175.5947 | 10
| 321.5846 | Gene | 376.8813 | 349.6334 | 291.6514 | 303.2419 | 329.6789 | 342.4774 | 310.0107 | 336.2128 | 303.571 | 366.7074 |  | 331.0066 |  | 12489.6662 | 10 |  | 593.193 | 585.6885 | 567.5559 | 571.4531 | 579.8119 | 583.6206 | 573.6607 | 581.7744 | 571.5616 | 590.4564 |  | 579.8776 |  | 356.2965 | 10
| 355.5989 | Jaimie | 327.3059 | 304.6922 | 350.0615 | 377.0984 | 355.3257 | 363.9988 | 329.6614 | 384.7007 | 430.3927 | 362.6839 |  | 358.5921 |  | 601.4325 | 10 |  | 579.0895 | 571.9302 | 585.8109 | 593.2506 | 587.3035 | 589.7151 | 579.8066 | 595.2466 | 606.4698 | 589.3532 |  | 587.7976 |  | 38.0611 | 10
| 305.6531 | Jean | 293.3391 | 262.9837 | 303.8376 | 286.739 | 265.038 | 280.0807 | 338.7907 | 284.6868 | 301.449 | 267.9589 |  | 288.4904 |  | 60617.0987 | 10 |  | 568.1329 | 557.2092 | 571.6493 | 565.8572 | 557.9873 | 563.5078 | 582.5383 | 565.139 | 570.8601 | 559.0834 |  | 566.1964 |  | 3861.312 | 10
| 308.9346 | Jesse | 384.2373 | 263.0265 | 299.9039 | 297.0218 | 317.4034 | 345.2254 | 288.9816 | 308.5832 | 346.8443 | 357.6031 |  | 320.8831 |  | 20670.0096 | 10 |  | 595.126 | 557.2255 | 570.3462 | 569.3805 | 576.0173 | 584.4197 | 566.6363 | 573.1992 | 584.8876 | 587.9424 |  | 576.5181 |  | 870.2254 | 10
| 461.1597 | Jo | 377.7812 | 408.7926 | 438.3119 | 440.05 | 377.079 | 468.7438 | 527.6269 | 427.0475 | 455.5067 | 537.9434 |  | 445.8883 |  | 63267.654 | 10 |  | 593.4315 | 601.3208 | 608.2931 | 608.6888 | 593.2455 | 615.0056 | 626.8389 | 605.6895 | 612.141 | 628.7753 |  | 609.343 |  | 5520.7843 | 10
| 481.7731 | Jody | 505.3744 | 520.3051 | 517.2495 | 571.3448 | 535.8874 | 558.5784 | 414.1806 | 570.2363 | 395.1739 | 461.5275 |  | 504.9858 |  | 192206.2416 | 10 |  | 622.5299 | 625.4415 | 624.8525 | 634.7993 | 628.3924 | 632.5395 | 602.6302 | 634.6051 | 597.9326 | 613.4542 |  | 621.7177 |  | 12867.33 | 10
| 380.0711 | Jordan | 398.1728 | 416.8451 | 423.3974 | 381.2658 | 422.8878 | 362.5425 | 365.0711 | 387.6545 | 348.0487 | 405.7181 |  | 391.1604 |  | 6156.8867 | 10 |  | 598.6886 | 603.2715 | 604.8311 | 594.3497 | 604.7107 | 589.3142 | 590.0092 | 596.0115 | 585.2343 | 600.5659 |  | 596.6987 |  | 1177.6566 | 10
| 299.1099 | Kade | 295.9645 | 368.573 | 257.4797 | 268.7215 | 307.0893 | 296.5483 | 316.0267 | 298.3773 | 312.5241 | 275.7382 |  | 299.7043 |  | 44412.9744 | 10 |  | 569.024 | 590.9639 | 555.0941 | 559.3675 | 572.7139 | 569.221 | 575.5827 | 569.8359 | 574.4682 | 561.9452 |  | 569.8216 |  | 2568.0189 | 10
[13 empty] | Mean | 366.3473 | SD | 2403500.2998 | 10 | [11 empty] | Mean | 585.8467 | SD | 158302.1696 | 10
|  | Mean | 357.5098 | 364.784 | 372.3493 | 366.9016 | 370.1527 | 370.038 | 363.1989 | 362.6672 | 363.6892 | 372.1825 | 366.3473 | 366.3473 | 4.8253 |  |  | Mean | 584.4145 | 584.5335 | 587.8293 | 585.4721 | 586.4766 | 586.9066 | 585.5089 | 584.7897 | 585.6137 | 586.9217 | 585.8467 | 585.8467 | 1.1454
[13 empty] | SD | 112.4722 | 115.2189 | [13 empty] | SD | 28.8647 | 29.6498
| Analysis of raw data |  |  | LCL | UCL | ±CL | ´¤¸CL | [11 empty] | Analysis of log-transformed data | LCL | UCL | ±CL | ´¤¸CL | [5 empty] | Back-transformed:
|  | Observed subject SD | 117.65 | 93.4053 | 161.2288 |  | 1.3138 | [10 empty] | Observed subject factor SD | 1.3535 | 1.2717 | 1.5141 |  | 1.0912 | [5 empty] | Mean | 350.1868 | CV (%)
|  | True subject SD | 111.8821 | 75.9392 | 138.8109 | 31.4359 | [11 empty] | True subject factor SD | 1.3325 | 1.215 | 1.4278 |  | 1.0841 | [5 empty] | 350.1868 | 350.1868 | 1.152
|  | Error SD | 36.3856 | 33.5032 | 39.8626 |  | 1.0908 | [10 empty] | Error factor SD | 1.1009 | 1.0926 | 1.1111 |  | 1.0084 | [5 empty] | CV (%) | 33.462 | 34.514
|  | ICC | 0.90435 | 0.85096 | 0.94786 | 0.048449 | [11 empty] | Observed subject CV (%) | 35.3531 | 27.1675 | 51.4138 |  | 1.3757
|  |  | Error and ICC for mean of | 2 | trials | [12 empty] | True subject CV (%) | 33.2479 | 21.5012 | 42.7848 | 10.6418
|  |  |  | LCL | UCL | ±CL | ´¤¸CL | [10 empty] | Error CV (%) | 10.0925 | 9.2572 | 11.1088 |  | 1.0955
|  | Error SD | 25.7285 | 23.6904 | 28.1871 |  | 1.0908 | [10 empty] | ICC | 0.89911 | 0.84325 | 0.94488 | 0.050813
|  | ICC | 0.94977 | 0.91948 | 0.97323 | 0.026876 | [12 empty] | Error and ICC for mean of | 2 | trials
|  |  | Subjects | [16 empty] | LCL | UCL | ±CL | ´¤¸CL
|  |  | (rows) |  | total | error | [11 empty] | Error factor SD | 1.0704 | 1.0646 | 1.0773 |  | 1.006
|  | n | 20 |  | 200 | [12 empty] | Error CV (%) | 7.0354 | 6.4604 | 7.733 |  | 1.0941
|  | DegFree | 19 |  | 199 | 180 | [11 empty] | ICC | 0.94688 | 0.91496 | 0.97166 | 0.028348
|  | SumSquares | 2403500.2998 |  | 2641804.2296 | 238303.9298 | [12 empty] | Subjects
|  | SD^2 | 12517.6105 |  |  | 1323.9107 | [12 empty] | (rows) |  | total | error
|  | SE^2 of SD^2 | 16844672.6352 |  |  | 19474.8844 | [11 empty] | n | 20 |  | 200
|  | SE of SD^2 | 4104.2262 |  |  | 139.5524 | [11 empty] | DegFree | 19 |  | 199 | 180
|  |  |  | LCL | UCL | [12 empty] | SumSquares | 158302.1696 |  | 174943.2601 | 16641.0904
|  | F ratio | 95.5503 | 58.0983 | 182.8051 | [12 empty] | SD^2 | 823.9243 |  |  | 92.4505
|  | Obsvd subj variance | 13841.5212 | 8724.5564 | 25994.7182 | [12 empty] | SE^2 of SD^2 | 73071.5924 |  |  | 94.9677
|  | True subj variance | 12517.6105 | 5766.7592 | 19268.4618 | [12 empty] | SE of SD^2 | 270.3176 |  |  | 9.7451
[20 empty] | LCL | UCL
[18 empty] | F ratio | 90.1206 | 54.7968 | 172.4172
[18 empty] | Obsvd subj variance | 916.3748 | 577.6073 | 1720.9744
[18 empty] | True subj variance | 823.9243 | 379.2914 | 1268.5571
[20 empty] | LCL | UCL
[18 empty] | Observed subject SD | 30.2717 | 24.0335 | 41.4846
[18 empty] | True subject SD | 28.7041 | 19.4754 | 35.6168
[18 empty] | Error SD | 9.6151 | 8.8534 | 10.5339
[18 empty] | Error for mean of 2 trials | 6.7989 | 6.2603 | 7.4486
Note on B2: Hopkins WG (2015). Spreadsheets for analysis of validity and reliability. Sportscience 19, 36-42 (sportsci.org/2015/ValidRely.htm)
Note on S55: Bartko's (1966) constant k.
Note on AJ55: Bartko's (1966) constant k.

## 2-way
SIMULATION AND ANALYSIS FOR 2-WAY RELIABILITY
Hover cursor for citation:
See the previous spreadsheet (1-way reliability) for an explanation of the generation of the data and for detailed instructions.
Most straightforward reliability analyses can be done with this spreadsheet or the earlier one for consecutive pairwise analysis of repeated measurements.
When familiarization or other habituation or order effects occur with only a few repeated measurements, use the consecutive-pairwise spreadsheet.
Use this spreadsheet when there are no such effects, and when you can assume that the errors on each measurement are equal and independent of each other.
The repeated measurements are nevertheless associated with known measuring occasions, such as multiple games or items in a psychometric inventory.
Here the subjects are players in a team. They all experience a given increase or decrease in their scores from game to game,
depending on whether the team lost, tied, or won the game.
The effects of losing, tieing or winning are shown as percents. Losing and winning have been given the same factor effect (´1.05 and ¸1.05, which equal 5% and -4.5%).
The aim of the analysis is the same as before, but now the mean score in each game can be adjusted for, and the differences in the means can be expressed as an SD.
To analyze your own data, replace the main block of data shown in plum color.
You can also delete or copy-and-insert whole rows and whole columns. Don't delete and don't copy-and-insert the first data row or the first five data columns (or you will corrupt the spreadsheet).
This spreadsheet does NOT work with missing data. Use mixed modeling instead, with data in "long" format.
Effects of losing, tieing or winning (and any other within- or between-subject factors) can be estimated by including appropriate variables in the mixed model.
|  |  |  | Do not use log transformation in one or more of the following situations: | [11 empty] | Use log transformation in one or more of the following situations:
| Choose confidence level (%): | 90 |  | the data can be zero or negative; | [11 empty] | the data can only be positive and non-zero;
Simulation to create raw observed values |  |  |  | the data were measured from an arbitrary reference value; | [11 empty] | the within-subject, between-subject or between-trial SD is more than ~20% of the mean;
|  | Depedent variable |  | the magnitude of the error is expected to be similar for all subjects. | [11 empty] | the magnitude of the percent or factor error is expected to be similar for all subjects.
True values
| Mean | 400
| Between-subject CV (%) | 30 | [7 empty] | <– Insert or delete whole columns here –> | [14 empty] | <– Insert or delete whole columns here –>
| Equivalent ´¤¸ factor SD | 1.3 | [15 empty] | 100*log(observed values)
| Within-subject random error (%) |  | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | [5 empty] | If you have missing raw data, you will have to delete #NUM! from the corresponding cells here.
| Effect of lose/tie/win (%) |  | 5 | 0 | -4.7619 | 5 | 0 | -4.7619 | 5 | 0 | -4.7619 | 0
| Lose/tie/win |  | L | T | W | L | T | W | L | T | W | T
|  |  | Game1 | Game2 | Game3 | Game4 | Game5 | Game6 | Game7 | Game8 | Game9 | Game10 |  | Mean |  |  |  | Game1 | Game2 | Game3 | Game4 | Game5 | Game6 | Game7 | Game8 | Game9 | Game10 |  | Mean
Do not copy/insert this row | 394.059 | Alex | 414.3334 | 391.9181 | 385.757 | 429.7901 | 376.2417 | 366.3448 | 464.1556 | 474.3953 | 359.1655 | 390.0696 |  | 405.2171 |  |  |  | 602.6671 | 597.1053 | 595.5208 | 606.3297 | 593.0232 | 590.3575 | 614.022 | 616.2041 | 588.3783 | 596.6325 |  | 600.024
| 408.5933 | Ariel | 372.8616 | 405.477 | 362.362 | 462.7898 | 405.9653 | 393.1403 | 460.1402 | 479.6905 | 398.6284 | 405.6161 |  | 414.6671 |  |  |  | 592.1207 | 600.5064 | 589.2644 | 613.7273 | 600.6268 | 597.4167 | 613.1531 | 617.3141 | 598.803 | 600.5407 |  | 602.3473
| 615.2989 | Ashley | 724.8772 | 692.2603 | 659.076 | 674.3928 | 657.2727 | 592.8311 | 629.6185 | 551.7885 | 740.6417 | 644.9844 |  | 656.7743 |  |  |  | 658.6002 | 653.9962 | 649.0839 | 651.3813 | 648.8099 | 638.4909 | 644.5114 | 631.3165 | 660.7517 | 646.9226 |  | 648.3865
| 268.0164 | Bernie | 297.3086 | 276.1022 | 235.1909 | 249.8292 | 298.3091 | 265.269 | 271.2893 | 298.1958 | 273.8564 | 260.8851 |  | 272.6236 |  |  |  | 569.4771 | 562.0771 | 546.0398 | 552.0777 | 569.813 | 558.0744 | 560.3186 | 569.775 | 561.2604 | 556.408 |  | 560.5321
| 483.9794 | Casey | 416.3993 | 598.2474 | 451.5724 | 567.7125 | 458.167 | 376.6151 | 503.3379 | 478.4377 | 486.2479 | 521.1209 |  | 485.7858 |  |  |  | 603.1645 | 639.4004 | 611.2736 | 634.1615 | 612.7234 | 593.1224 | 622.1262 | 617.0526 | 618.6719 | 625.5982 |  | 617.7295
| 674.4091 | Chris | 734.0467 | 744.3036 | 820.4508 | 720.6533 | 634.3905 | 605.833 | 687.4928 | 743.0727 | 658.5509 | 661.6938 |  | 701.0488 |  |  |  | 659.8573 | 661.2449 | 670.9854 | 658.0158 | 645.2665 | 640.6604 | 653.3051 | 661.0794 | 649.0042 | 649.4803 |  | 654.8899
| 466.2554 | Corey | 510.0143 | 422.2469 | 479.2386 | 454.0989 | 408.8158 | 501.4656 | 558.7163 | 403.427 | 473.7162 | 426.6712 |  | 463.8411 |  |  |  | 623.4439 | 604.559 | 617.2199 | 611.8315 | 601.3265 | 621.7535 | 632.5642 | 599.9995 | 616.0608 | 605.6014 |  | 613.436
| 398.8164 | Courtney | 376.061 | 375.1156 | 357.5613 | 449.0513 | 318.9809 | 407.6368 | 443.4218 | 366.388 | 385.9969 | 402.0019 |  | 388.2216 |  |  |  | 592.9751 | 592.7234 | 587.9307 | 610.7137 | 576.5131 | 601.0377 | 609.4522 | 590.3693 | 595.5829 | 599.6457 |  | 595.6944
| 553.3315 | Devon | 463.5417 | 520.9322 | 445.8218 | 561.2732 | 517.4223 | 548.8883 | 592.9977 | 524.4919 | 597.1347 | 536.6176 |  | 530.9121 |  |  |  | 613.8896 | 625.562 | 609.9919 | 633.0208 | 624.8859 | 630.7895 | 638.5191 | 626.243 | 639.2143 | 628.5286 |  | 627.0645
| 471.9866 | Drew | 473.7723 | 496.1585 | 470.5202 | 529.6225 | 495.1299 | 452.9776 | 502.098 | 466.9774 | 455.0024 | 396.2248 |  | 473.8484 |  |  |  | 616.0727 | 620.6895 | 615.3839 | 627.2165 | 620.482 | 611.5843 | 621.8795 | 614.6281 | 612.0303 | 598.1982 |  | 615.8165
| 348.4299 | Dylan | 390.9493 | 368.4142 | 320.331 | 372.1807 | 333.8586 | 343.0576 | 415.7111 | 318.5124 | 393.9274 | 338.9214 |  | 359.5864 |  |  |  | 596.8578 | 590.9208 | 576.9355 | 591.938 | 581.0718 | 583.7898 | 602.9991 | 576.3661 | 597.6167 | 582.5768 |  | 588.1072
| 318.8832 | Frances | 352.0233 | 283.8172 | 360.4659 | 370.5591 | 295.7682 | 318.2054 | 344.4563 | 361.4615 | 269.7591 | 318.7874 |  | 327.5303 |  |  |  | 586.3697 | 564.8331 | 588.7397 | 591.5013 | 568.9576 | 576.2697 | 584.1967 | 589.0155 | 559.7529 | 576.4524 |  | 578.6089
| 380.8079 | Gene | 426.485 | 433.9933 | 292.8618 | 342.8999 | 355.1455 | 381.7915 | 378.3605 | 428.0541 | 363.3081 | 325.1923 |  | 372.8092 |  |  |  | 605.5577 | 607.3029 | 567.9701 | 583.7439 | 587.2527 | 594.4875 | 593.5847 | 605.925 | 589.5251 | 578.4417 |  | 591.3791
| 537.3356 | Jaimie | 553.0936 | 627.4393 | 515.5306 | 572.2592 | 555.8327 | 454.1165 | 532.0049 | 437.9387 | 511.9069 | 542.3636 |  | 530.2486 |  |  |  | 631.5527 | 644.1647 | 624.5197 | 634.9592 | 632.0467 | 611.8354 | 627.6653 | 608.2079 | 623.8143 | 629.5937 |  | 626.8359
| 209.4556 | Jean | 249.4323 | 192.6298 | 224.3581 | 243.1706 | 238.3122 | 187.3911 | 196.695 | 221.9806 | 213.2448 | 207.5549 |  | 217.4769 |  |  |  | 551.9187 | 526.077 | 541.3244 | 549.3763 | 547.3582 | 523.3198 | 528.1654 | 540.259 | 536.2441 | 533.5396 |  | 537.7582
| 250.1706 | Jesse | 243.8619 | 249.0815 | 250.0463 | 284.0298 | 265.4887 | 215.054 | 283.8217 | 223.7928 | 239.8257 | 301.4103 |  | 255.6413 |  |  |  | 549.6602 | 551.778 | 552.1646 | 564.9079 | 558.1572 | 537.0889 | 564.8346 | 541.0721 | 547.9912 | 570.8473 |  | 553.8502
| 259.8695 | Jo | 257.6136 | 270.518 | 226.8171 | 228.211 | 223.3692 | 249.7257 | 258.414 | 278.7961 | 266.3594 | 253.0526 |  | 251.2877 |  |  |  | 555.1461 | 560.0339 | 542.4144 | 543.0271 | 540.8826 | 552.0363 | 555.4563 | 563.0481 | 558.4847 | 553.3598 |  | 552.3889
| 440.1108 | Jody | 530.4515 | 407.5419 | 410.0907 | 529.557 | 429.3256 | 467.7549 | 419.9406 | 433.6636 | 456.9974 | 414.8696 |  | 450.0193 |  |  |  | 627.3729 | 601.0144 | 601.6378 | 627.2041 | 606.2216 | 614.7944 | 604.0113 | 607.2269 | 612.4678 | 602.7964 |  | 610.4748
| 477.4484 | Jordan | 492.8925 | 432.1674 | 360.9568 | 456.9463 | 492.5976 | 472.594 | 557.2381 | 480.6237 | 546.6457 | 473.8266 |  | 476.6489 |  |  |  | 620.0291 | 606.8813 | 588.8758 | 612.4566 | 619.9693 | 615.8237 | 632.2993 | 617.5085 | 630.3801 | 616.0841 |  | 616.0308
| 419.5107 | Kade | 428.8937 | 362.6557 | 401.4127 | 438.7896 | 372.2921 | 404.0167 | 431.2177 | 444.539 | 450.2901 | 374.7676 |  | 410.8875 |  |  |  | 606.1209 | 589.3454 | 599.499 | 608.402 | 591.9679 | 600.1456 | 606.6613 | 609.7038 | 610.9892 | 592.6306 |  | 601.5466
[13 empty] | Mean | 422.2538 | SD | [12 empty] | Mean | 599.6451 | SD
|  | Mean | 435.4456 | 427.551 | 401.5211 | 446.8909 | 406.6343 | 400.2354 | 446.5564 | 420.8114 | 427.0603 | 409.8316 | 422.2538 | 422.2538 | 17.4413 |  | Mean | 603.1427 | 600.0108 | 593.8388 | 605.2996 | 596.3678 | 594.6439 | 605.4863 | 600.1157 | 600.3512 | 597.1939 | 599.6451 | 599.6451 | 4.1453
[13 empty] | SD | 127.0402 | 130.9761 | [12 empty] | SD | 31.1568 | 31.9199
| Analysis of raw data |  | Game2: LCL; Game3: UCL; Game4: ±CL; Game5: ´¤¸CL | [5 empty] | Analysis of log-transformed data | LCL | UCL | ±CL | ´¤¸CL | [5 empty] | Back-transformed:
|  | Observed subject SD | Game1: 132.9629; Game2: 105.5627; Game3: 182.2138; Game5: 1.3138 |  |  |  |  | Observed subject factor SD | 1.3829 | 1.2935 | 1.5593 |  | 1.0979 | [5 empty] | Mean | 401.9994 | CV (%)
|  | True subject SD | Game1: 126.365; Game2: 85.7624; Game3: 156.7834; Game4: 35.5105 |  |  |  |  | True subject factor SD | 1.3636 | 1.2345 | 1.4692 |  | 1.0909 | [5 empty] | 401.9994 | 401.9994 | 4.2325
|  | Observed game SD | Game1: 17.4413; Game2: 12.7208; Game3: 28.6944; Game5: 1.5019 |  |  |  |  | Observed game factor SD | 1.0423 | 1.0307 | 1.0706 |  | 1.0192 | [5 empty] | CV (%) | 36.5564 | 37.6026
|  | True game SD | Game1: 14.7868; Game2: -4.209; Game3: 21.3311; Game4: 12.77 |  |  |  |  | True game factor SD | 1.0363 | 0.99219 | 1.0524 |  | 1.0299
|  | Error SD (same raters) | Game1: 41.3645; Game2: 38.0102; Game3: 45.4307; Game5: 1.0933 |  |  |  |  | Error factor SD (same raters) | 1.0989 | 1.0906 | 1.1092 |  | 1.0085
|  | Error SD different raters) | Game1: 43.9281; Game2: not yet available |  |  |  |  | Error factor SD (different raters) | 1.1061 | not yet available
|  | ICC (same raters) | Game1: 0.90322; Game2: 0.84905; Game3: 0.94727; Game4: 0.049109 |  |  |  |  | Observed subject CV (%) | 38.2883 | 29.352 | 55.9315 |  | 1.3804
|  | ICC (different raters) | Game1: 0.89218; Game2: not yet available |  |  |  |  | True subject CV (%) | 36.3611 | 23.4497 | 46.9165 | 11.7334
|  |  | Game1: Error and ICC for mean of; Game2: 2; Game3: trials; Game4: Read comment. |  |  |  |  | Observed game CV (%) | 4.2325 | 3.0696 | 7.0578 |  | 1.5163
|  |  | Game2: LCL; Game3: UCL; Game4: ±CL; Game5: ´¤¸CL |  |  |  |  | True game CV (%) | 3.6327 | -0.78116 | 5.2395 | 3.0104
|  | Error SD (same raters) | Game1: 29.2491; Game2: 26.8773; Game3: 32.1244; Game5: 1.0933 |  |  |  |  | Error CV (%) (same raters) | 9.8946 | 9.057 | 10.9186 |  | 1.098
|  | Error SD (different raters) | Game1: 31.0618; Game2: not yet available |  |  |  |  | Error CV (%) different raters) | 10.6137 | not yet available
|  | ICC (same raters) | Game1: 0.94915; Game2: 0.91836; Game3: 0.97292; Game4: 0.027278 |  |  |  |  | ICC (same raters) | 0.91529 | 0.86699 | 0.95409 | 0.043552
|  | ICC (different raters) | Game1: 0.94302; Game2: not yet available |  |  |  |  | ICC (different raters) | 0.90433 | not yet available
|  |  | Game1: Subjects; Game2: Games | [5 empty] | Error and ICC for mean of | 2 | trials | Read comment.
|  |  | Game1: (rows); Game2: (columns); Game3: total; Game4: error | [6 empty] | LCL | UCL | ±CL | ´¤¸CL
|  | n | Game1: 20; Game2: 10; Game3: 200 |  |  |  |  | Error factor SD (same raters) | 1.069 | 1.0632 | 1.076 |  | 1.006
|  | DegFree | Game1: 19; Game2: 9; Game3: 199; Game4: 171 |  |  |  |  | Error factor SD (different raters) | 1.0739 | not yet available
|  | SumSquares | Game1: 3066452.2453; Game2: 54756.0481; Game3: 3413793.6194; Game4: 292585.326 |  |  |  |  | Error CV (%) (same raters) | 6.8993 | 6.3225 | 7.6027 |  | 1.0966
|  | SD^2 | Game1: 15968.1198; Game2: 218.649; Game4: 1711.0253 |  |  |  |  | Error CV (%) (different raters) | 7.3934 | not yet available
|  | SE^2 of SD^2 | Game1: 27418710.6062; Game2: 20649.5587; Game4: 34241.0242 |  |  |  |  | ICC (same raters) | 0.95577 | 0.92875 | 0.97651 | 0.023876
|  | SE of SD^2 | Game1: 5236.2879; Game2: 143.6995; Game4: 185.0433 |  |  |  |  | ICC (different raters) | 0.94976 | not yet available
|  |  | Game2: LCL; Game3: UCL | [5 empty] | Subjects | Games
|  | F ratio | Game1: 94.3249; Game2: 57.2463; Game3: 180.6315 | [5 empty] | (rows) | (columns) | total | error
|  | Obsvd subj variance | Game1: 17679.1451; Game2: 11143.4788; Game3: 33201.8705 |  |  |  |  | n | 20 | 10 | 200
|  | True subject variance | Game1: 15968.1198; Game2: 7355.1927; Game3: 24581.0469 |  |  |  |  | DegFree | 19 | 9 | 199 | 171
|  | Obsvd game variance | Game1: 304.2003; Game2: 161.8184; Game3: 823.3713 |  |  |  |  | SumSquares | 184441.632 | 3093.0829 | 202757.5927 | 15222.8778
|  | True game variance | Game1: 218.649; Game2: -17.7157; Game3: 455.0137 |  |  |  |  | SD^2 | 961.8432 | 12.7327 |  | 89.0227
[17 empty] | SE^2 of SD^2 | 99195.3156 | 65.8501 |  | 92.6905
[17 empty] | SE of SD^2 | 314.9529 | 8.1148 |  | 9.6276
[19 empty] | LCL | UCL
[17 empty] | F ratio | 109.0447 | 66.1798 | 208.82
[17 empty] | Observed subject variance | 1050.8658 | 662.3794 | 1973.552
[17 empty] | True subject variance | 961.8432 | 443.7918 | 1479.8945
[17 empty] | Observed game variance | 17.1838 | 9.1409 | 46.5109
[17 empty] | True game variance | 12.7327 | -0.61501 | 26.0803
[19 empty] | LCL | UCL
[17 empty] | Observed subject SD | 32.4171 | 25.7367 | 44.4247
[17 empty] | True subject SD | 31.0136 | 21.0664 | 38.4694
[17 empty] | Observed game SD | 4.1453 | 3.0234 | 6.8199
[17 empty] | True game SD | 3.5683 | -0.78423 | 5.1069
[17 empty] | Error SD same raters | 9.4352 | 8.6701 | 10.3627
[17 empty] | Error SD different raters | 10.0874
[17 empty] | Error for mean of 2 trials same raters | 6.6717 | 6.1307 | 7.3275
[17 empty] | Error for mean of 2 trials different raters | 7.1329
Note on B2: Hopkins WG (2015). Spreadsheets for analysis of validity and reliability. Sportscience 19, 36-42 (sportsci.org/2015/ValidRely.htm)
Note on D57: That is, the expected within-subject SD if subjects are assessed or re-assessed by the same rater(s) or if all the subjects play or replay in the same game(s).
Note on D58: That is, the expected within-subject SD when every subject is assessed or re-assessed by different raters or play or replay in different games.
Note on D59: That is, the expected correlation if subjects are assessed or re-assessed by the same rater(s) or if all the subjects play or replay in the same game(s).
Note on D60: That is, the expected correlation when every subject is assessed and re-assessed by different raters or play and replay in different games.
Note on H61: If the number of trials is the same as the number of columns of data, the ICC for the same raters is the alpha reliability.
Note on U63: That is, the expected within-subject SD if subjects are assessed or re-assessed by the same rater(s) or if all the subjects play or replay in the same game(s).
Note on U64: That is, the expected within-subject SD when every subject is assessed or re-assessed by different raters or play or replay in different games.
Note on U65: That is, the expected correlation if subjects are assessed or re-assessed by the same rater(s) or if all the subjects play or replay in the same game(s).
Note on U66: That is, the expected correlation when every subject is assessed and re-assessed by different raters or play and replay in different games.
Note on Y67: Use raw data for alpha reliability of Likert-scale items.